## Table 1
Attachment B-Price Proposal
All requested plans include construction, construction management, site‐specific replacement of service lines, inspections, and all appurtenances, including all utility connections and all related activities necessary to complete the tasks identified this Exhibit J‐1. The unit prices on this tab are inclusive of the material/labor/equipment/fees only to construct the home in accordance with City of Houston Building Codes and Attachment A "Summary of Minimum Construction Standards for Reconstruction and New Construction and Rehabilitation" Other site specific modification/considerations are addressed on subsequent tabs. Unit prices include all versions of plans and include cost of the front door/back door landings, steps, drive approach, driveway, and culvert. Pier and beam prices include construction up to 3 feet above grade Pier and beam homes with cement board siding require skirting to grade Brick veneer and cement board siding is estimated on slab, and pier and beam homes up to 3.0 feet above grade Brick veneer shall not be used on homes built more than 3.0 feet above grade
Reconstruction
Item No. | Item Description | Unit Price Slab (Brick Veneer) | Unit Price Slab (Cement Board Siding) | Unit Price Pier & Beam (Brick Veneer) | Unit Price Pier & Beam (Cement Board Siding) | Profit Percentage (% of Unit Price that is profit)
1 | 1,100 ‐ 1,300 Square Feet (sq. ft.) house plan no. P1‐1 (with 3 different elevations), with 2 bedrooms and 1 bathroom with 20X20 1 car garage
2 | 1,100 ‐ 1,300 sq. ft. house plan no. P1‐2 (with 3 different elevations), with 2 bedrooms and 1 bathroom with 20X20 1car garage
3 | 1,100 ‐ 1,300 sq. ft. house plan no. P1‐3 (with 3 different elevations), with 2 bedrooms and 1 bathroom with 20X20 1 car garage
4 | 1,200 ‐ 2,200 sq. ft. house plan no. P2‐1 (with 3 different elevations), with 3 bedrooms and 2 bathrooms. with 20X20 2 car garage
5 | 1,200 ‐ 2,200 sq. ft. house plan no. P2‐2 (with 3 different elevations), with 3 bedrooms and 2 bathrooms. with 20X20 2 car garage
6 | 1,200 ‐ 2,200 sq. ft. house plan no. P2‐3 (with 3 different elevations), with 3 bedrooms and 2 bathrooms. with 20X20 2 car garage
7 | 1,500 ‐ 2,400 sq. ft. house plan no. P3‐1 (with 3 different elevations), with 4 bedrooms and 2 bathrooms.
8 | 1,500 ‐ 2,400 sq. ft. house plan no. P3‐2 (with 3 different elevations), with 4 bedrooms and 2 bathrooms. with 20X20 2 car garage
9 | 1,500 ‐ 2,400 sq. ft. house plan no. P3‐3 (with 3 different elevations), with 4 bedrooms and 2 bathrooms .
The next 3 plans shall be compliant with Uniform Federal Accessibility Standards (UFAS)
10 | 1100 ‐ 1300 sq. ft. house plan no. U1 (with 3 different elevations), with 2 bedrooms and 1 bathroom, UFAS‐compliant.
11
12 | 1,200 ‐ 2,200 sq. ft. house plan no. U2 (with 3 different elevations), with 3 bedrooms and 2 bathrooms, UFAS‐compliant.
12 | 1500 ‐ 2,400 sq. ft. house plan no. U‐3 (with 3 different elevations), with 4 bedrooms and 2 bathrooms, UFAS‐compliant.
The next 3 plans shall be suitable for building on narrow lots ‐ 25 ft. wide
13 | 1,100 ‐ 1,300 sq. ft. house plan no. N1 (with 3 different elevations) for a 25 ft. wide lot with 5 ft. side set‐backs, with 2 bedrooms and 1 bathrooms. with 20X20 2 car garage
14 | 1,200 ‐ 2,200 sq. ft. house plan no. N2 (with 3 different elevations) for a 25 ft. wide lot with 5 ft. side set‐ backs, with 3 bedrooms and 2 bathrooms. with 20X20 2 car garage
15 | 1,500 ‐ 2,400 sq. ft. house plan no. N3 (with 3 different elevations) for a 25 ft. wide lot with 5 ft. side set‐ backs, with 4 bedrooms and 2 bathrooms. with 20X20 2 car garage
Items #34‐41 are specific to Demolition. These unit prices include all demolition, haul off, dump fees, labor, materials, equipment, site clean up, and minor site grading (as necessary). All disposal must be in accordance with all city, state, and federal requirements.
Item No. | Units | Descriptions | Unit Price Existing Slab on Grade | Unit Price Existing Pier & Beam | Unit Price Existing Pilings | Unit Price Existing Pilings | Profit Percentage (% of Unit Price that is profit)
16 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 1,000 Square Feet (sq. ft.).
17 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 1,001 to 1,500 sq. ft.
18 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 1,501 to 2,000 sq. ft.
19 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 2,001 to 2,500 sq. ft.
20 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 2,501 to 3,000 sq. ft.
21 | Lump Sum | Demolish and dispose of existing house with a footprint of up to 3001 to 3500 sq. ft.
22 | Lump Sum | Demolish and dispose of existing house with a footprint of 3500+ sq. ft.
23 | Square Feet | Demolish and dispose of existing out‐ buildings
24 | Lump Sum | Haul Off & Disposal of Manufactured Housing Unit
Each unit cost below include all appurtenances and related activities necessary to complete the work.
Unit Item No. | Quantity | Units | Descriptions | Unit Price | Profit Percentage (% of Unit Price that is profit)
UB1 | 1 | Lump Sum | Construction of minimum of 420 SF concrete off‐street parking for two (2) automobiles on homeowner’s lot in accordance with applicable local codes and regulations to match and join existing driveway approach at the ROW.
UB2 | 1 | Lump Sum | When required by homeowner and approved by the Program, construct a minimum 420 SF concrete Parking Space with reference to the UFAS Section 4.6.3 with concrete specifications that meet jurisdictional code.
UB3 | 1 | Lump Sum | Complete installation of residential water well for domestic use, installed by Licensed Texas Water Well Driller to a depth up to 150 ft., meeting all applicable codes and regulations, including testing.
UB4 | 1 | Lump Sum | Install properly sized aerobic septic system with surface application in accordance with all applicable codes and regulations, including all appurtenances (such as night spray component when required by lot size).
UB5 | 1 | Lump Sum | Install properly sized aerobic septic system with drip irrigation in accordance with all applicable codes and regulations.
UB6 | 1 | Cubic Yard | Furnish, place, and compact engineered fill
UB7 | 1 | Cubic Yard | Furnish, place, and compact pea gravel
UB8 | 1 | Linear Feet | Furnish and place Sidewalk 4' wide
UB9 | 1 | Linear Feet | Furnish and Install 1” water supply line: distance from the original point of service (well head or public system service tap) to a new point of service.
UB10 | 1 | Linear Feet | Furnish and Install 4”sewer line, as necessary, the additional distance from the original point of service (septic system connection or public system sewer connection) to a new point of service.
UB11 | 1 | Linear Feet | Install underground electrical service line (100 or 125 amp service) from the point of utility company service to house, when required by ordinance or established rule.
UB12 | 1 | Linear Feet | Install underground electrical service line (150 or 200 amp service) from the point of utility company service to house, when required by ordinance or established rule.
UB13 | 1 | Lump Sum | Removal and proper disposal of encroaching tree less than 6” in diameter (measured at 4 feet from ground) with permission of the homeowner and approval of the Program.
UB14 | 1 | Lump Sum | Removal and proper disposal of encroaching tree greater than 6” up to 12" in diameter (measured at 4 feet from ground) with permission of the homeowner and approval of the Program. Cost estimate includes stump grinding/removal below exisiting grade.
UB15 | 1 | Lump Sum | Removal and proper disposal of encroaching tree greater than 12” up to 24" in diameter (measured at 4 feet from ground) with permission of the homeowner and approval of the Program. Cost estimate includes stump grinding/removal below exisiting grade.
UB16 | 1 | Lump Sum | Removal and proper disposal of encroaching tree greater than 24”up to 36" in diameter (measured at 4 feet from ground) with permission of the homeowner and approval of the Program. Cost estimate includes stump grinding/removal below exisiting grade.
UB17 | 1 | Lump Sum | Removal and proper disposal of encroaching tree greater than 36” in diameter (measured at 4 feet from ground) with permission of the homeowner and approval of the Program. Cost estimate includes stump grinding/removal below exisiting grade.
UB18 | 1 | Lump Sum | Furnish and Install live oak tree with a minimum of 2" caliper
UB19 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install a residential vertical Platform Lift with standard lifting height of up to 96", including framing and enclosure into the home structure, electrical installation requirements to jurisdictional code, maintenance‐ free operation and 24V DC battery backup with reference to the UFAS Section 4.11.
UB20 | 1 | Linear Feet | When required by homeowner and approved by the Program, construct a 36” wide concrete Accessible Route from the edge of the parking space to the lift/ramp/entrance platform at the house with reference to the UFAS Sections 4.3.3, 4.3.7, 4.3.8 and 4.5 with concrete specifications that meet jurisdictional code (and handrails, when required, to be constructed of pressure‐ treated lumber).
UB21 | 1 | Square Feet | Installation of all weather surfacing material consisting of 3/8” crushed stone or shell (homeowner’s choice), spread and compacted to a minimum width of 12’ and a minimum of 4” thick on homeowner’s lot in accordance with applicable local codes and regulations, to match and join existing driveway approach at ROW, including all appurtenances and related activities necessary to complete the work.
UB22 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install elevated toilet adjacent to a wall with safety bars in one (1) designated bathroom with reference to the UFAS Section 4.26. (American Standard, or approved equal, minimum 16.5” height elongated bowl and Moen chrome safety bars, or approval equal). The lump sum estimate shall reflect only the increase in costs above the base costs of the item(s) included in the plans.
UB23 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install handicap accessible Bathtub, with safety bars, and drop down seat in one (1) designated bathroom with reference to the UFAS Section 4.34.5.4 (Koral Model HTS 731LH/736 RH or approved equal); The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB24 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install handicap accessible Shower, (1) designated bathroom with reference to the UFAS Section 4.34.5.5 (One‐piece 62” x 33" fiberglass ADA Handicap shower with over‐flow barrier, integrated seat and grab bars. APFQ6233BF‐F75 or approved equal). The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB25 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install roll‐under sink, mirror and medicine cabinet in (1) designated bathroom with reference to the UFAS Section 4.34.5.3 . The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB26 | 1 | Lump Sum | When required by the homeowner and approved by the Program, install Kitchen per UFAS Section 4.34.6 (includes cooktop (Frigidaire 30” cooktop with front‐end knobs or approved equal) and wall oven (Frigidaire 24” single wall oven or approved equal), installed roll‐under sink, installed Storage per UFAS Section 4.25. Base Cabinet Storage will include rollout shelving. The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB27 | 1 | Lump Sum | When required by a homeowner with visual or hearing impairment and approved by the Program, installed Emergency Alarms for visual/hearing impaired occupants for all floor plans (per UFAS Section 4.28) as an upgrade to IRC required alarm system. The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB28 | 1 | Square Feet | When required by a homeowner and approved by the Program, provide all Vinyl Plank Flooring throughout unit (4 mil Plank or approved equal). The lump sum costs shall reflect only the increase in cost above the base costs of the item(s) included in the plans.
UB29 | 1 | Lump Sum | Attached Garage – (For cities or subdivisions where each residential dwelling unit is required to have a garage permanently affixed to the land) The minimum floor space for the garage shall be two hundred fifty (250) square feet of 3000 psi concrete, must be constructed with the required anchoring system per state and local jurisdictional requirements, including tire stop, and the floor area used for vehicular parking must be sloped to facilitate the movement of liquids toward the main vehicle entry door. Exterior finish must match that of new home and interior finish must be enclosed with gypsum board and must be paint ready.
UB30 | 1 | Lump Sum | Detached Garage ‐ (For cities or subdivisions where each residential dwelling unit is required to have a garage permanently affixed to the land) The minimum floor space for the garage shall be two hundred fifty (250) square feet of 3000 psi concrete, must be constructed with the required anchoring system per state and local jurisdictional requirements, including tire stop, and the floor area used for vehicular parking must be sloped to facilitate the movement of liquids toward the main vehicle entry door. Exterior finish must match that of the new home.
UB31 | 1 | Each | Construct a 36" wide exterior Access Route (Wheelchair accessible Ramp) UFAS Sec. 4.3.3, 4.3.7, 4.3.8, 4.5 between 1.0 and 3.0 feet in height.
UB32 | 1 | Each | Construct a 36" wide exterior Acess Route (Wheelchair accessible Ramp) UFAS Sec. 4.3.3, 4.3.7, 4.3.8, 4.5 between 3.1 and 5.0 feet in height.
UB33 | 1 | Each | Construct a 36" wide exterior Acess Route (Wheelchair accessible Ramp) UFAS Sec. 4.3.3, 4.3.7, 4.3.8, 4.5 between 5.1 and 7.0 feet in height.
UB34 | 1 | Each | Construct a 36" wide exterior Acess Route (Wheelchair accessible Ramp) UFAS Sec. 4.3.3, 4.3.7, 4.3.8, 4.5 between 7.1 and 9.0 feet in height.
Typical Upgrade Items
All prices reflect only the increase in cost above the base cost of the item(s) included in the home plans.
Unit Item No. | Quantity | Units | Descriptions | Unit Price | Profit Percentage (% of Unit Price that is profit)
UG1 | 1 | Linear Feet | Bathroom ‐ Cultured Marble Vanity top
UG2 | 1 | Lump Sum | Bathroom ‐ Enameled steel tub with ceramic tile shower surround
UG3 | 1 | Lump Sum | Bathroom ‐ Designer Faucet set
UG4 | 1 | Square Feet | Flooring ‐ upgraded carpet and pad
UG5 | 1 | Square Feet | Flooring ‐ ceramic tile
UG6 | 1 | Square Feet | Flooring ‐ wooden floor
UG7 | 1 | Linear Feet | Kitchen ‐ Solid Surface Countertops
UG8 | 1 | Linear Feet | Kitchen ‐ Premium Grade Cabinets and hardware Lower Base Units (no layout modifications allowed)
UG9 | 1 | Linear Feet | Kitchen ‐ Premium Grade Cabinets and hardware Upper Wall mounted units (no layout modifications allowed)
UG10 | 1 | Lump Sum | Kitchen ‐ Designer sink double bowl
UG11 | 1 | Lump Sum | Kitchen ‐ Designer faucet
UG12 | 1 | Lump Sum | Kitchen ‐ Upgrade electric appliance manufacturer and/or model (if same size, fuel and power requirements)
UG13 | 2 | Lump Sum | Kitchen ‐ Upgrade Gas appliance manufacturer and/or model (if same size, fuel and power requirements)
UG14 | 1 | Lump Sum | Kitchen ‐ Dishwasher
UG15 | 1 | Linear Feet | Other ‐ Finished interior 3 1/4" baseboard (Stain vs Paint)
UG16 | 1 | Each Window | Other ‐ Upgrade from aluminum to wood Mini‐blind window package. (Window size 7.0 ‐14.0 sf)
UG17 | 1 | Each Window | Other ‐ Upgrade from aluminum to wood Mini‐blind window package. (Window size 14.1 ‐20.0 sf)
UG18 | 1 | Each Door | Other‐ solid core interior doors
UG19 | 1 | Each fixture | Other ‐ Designer exterior lights (replacement location only)
Rehabilitation
For rehabilitation, the Program pricing will be standardized using unit cost factored pricelists from Xactimate®. Items listed below are not included in the base pricing supplied by Xactimate®. A unit cost factor shall be applied to the base Xactimate pricing to account for all of the items listed below.
Item No. | Descriptions | Unit Cost Factor
1 | Cost of project management, meetings, business development, scheduling, estimating, safety, accounting, advertising, insurance, interest, legal fees, labor burden, rent, repairs, supplies, taxes, telephone bills, travel expenditures, and utilities, etc. required to operate your business, builder profit, procurement of bonds, cost of permits and code inspections, cost of job site trailers, materials storage, radios, dumpsters, temporary toilets, site signage, site security, and any other soft costs required to complete the scope of work. | Included in Unit Price Below | Legend: ‐ LF = Linear Foot ‐ SF = Square Foot ‐ CY = Cubic Yard ‐ HR = Hour ‐ EA = Each ‐ SQ = One standard roofing square (100 square feet)
Descriptions | Quantity | Unit Price | Profit Percentage (% of Unit Price that is profit)
FLATWORK ‐ APPROACH with CULVERT
1. Concrete floor sawing ‐ 4" slab | LF
2. Culvert ‐ 24" | LF
3. Engineered fill (per CY) | CY
4. Gravel under slab ‐ in place | CY
5. Concrete slab on grade ‐ 4" ‐ finished in place | SF
6. Concrete slab reinforcement ‐ 6" x 6", #10 wire mesh | SF
Plumbing
7a. Remove Water supply line ‐ PVC with fitting and hanger, 2" | LF
7b. Water supply line ‐ PVC with fitting and hanger, 2" | LF
Includes: PVC supply line, glue, fittings, hangers, and installation labor. Labor cost to remove 2" PVC tubing and to discard in a job‐site waste receptacle. Quality: 2" pipe with one fitting and one hanger every 10 feet. Average life expectancy 65 years Average depreciation 1.54% per year Maximum depreciation 100% For Domestic Water Supply Lines
8a. Remove Black pipe with fitting and hanger, 1" | LF
8b. Black pipe with fitting and hanger, 1" | LF
Includes: Schedule 40 black pipe with fittings and hangers and installation labor. Quality: 1 fitting and 1 hanger per 10 lineal ft.
Green: LEED considers black iron pipes to be green for being manufactured with a minimum of 25% recycled product. Note: 1" pipe. Frequently used for gas lines. For Gas Supply Lines
9a. Remove Cast iron pipe (no‐hub) with fitting and hanger, 6" | LF
9b. Cast iron pipe (no‐ hub) with fitting and hanger, 6" | LF
Includes: Cast iron pipe, fittings, bands, and installation labor. Quality: 6" pipe. One fitting and two bands per 10 lineal feet.
For Sewer Line
10. Excavate by hand | CY
For Service Line Trench
11. Gravel (per CY) | CY
12. Electric heat tape for exposed water lines | LF
Includes: Heat cable, plug, end cap, electricians black tape, and installation labor. Quality: Self regulating heat cable and fused plug. For Heat Tracing
13. Backfill by hand ‐ No compaction | CY
14. Riding drum compactor and operator | HR
Includes: Riding drum compactor and operator.
Note: Hourly charge for equipment use in excavating, grading or leveling, trenching, and backfilling dirt against walls. It is usual and customary to include hours needed to transport equipment to job‐site when calculating the hours. No life expectancy data.
Based on assumption of 1 hour of use plus .5 hours of delivery time. Any additional hours shall not include additional delivery time. For Backfilling and Compaction work for driveway construction. Based on 1 hour of machine time for every 100 sq. ft. of construction.
Totals: Site Work
Structure ‐ Foundation Leveling
FOUNDATION ‐ FLOOR LEVELING
15. Relevel ‐ Whole House Modular | EA
Home
Includes: Shims, wedges, and installation labor.
Excludes: New masonry block. Existing blocks should be used. Quality: Up to 24 piers per triple wide unit.
FOUNDATION ‐ FLOOR LEVELING
16. Foundation Leveling Per Pier | EA
Totals: Structure ‐ Foundation Leveling
Flatwork
DRIVEWAY/SIDEW ALK REPAIR
17. Epoxy injection ‐ concrete repair (per LF of crack) | LF
18. Concrete floor sawing ‐ 4" slab | LF
19. Concrete patch / small repair | EA
20. Concrete floor sawing ‐ 4" slab | LF
21. Gravel under slab ‐ in place | CY
22. Concrete slab reinforcement ‐ 6" x 6", #10 wire mesh | SF
23a. Remove Concrete slab on grade ‐ 4" ‐ finished in place | SF
23b. Concrete slab on grade ‐ 4" ‐ finished | SF
Totals: Flatwork
Roofing
ROOFING ‐ 25YR / 30YR SHINGLES
24. Tear off, haul and dispose of comp. shingles ‐ 3 tab | SQ
25. Laminated ‐ comp. shingle rfg. ‐ w/out felt | SQ
26. 3 tab ‐ 25 yr. ‐ comp. shingle roofing ‐ w/out felt | SQ
27. Roofing felt ‐ 15 lb. | SQ
28. Asphalt starter ‐ universal starter course | LF
29a. Remove Ridge cap ‐ composition shingles | LF
29b. Ridge cap ‐ composition shingles | LF
30a. Remove Drip edge | LF
30b. Drip edge | LF
31a. Remove Roof vent ‐ turtle type Metal | EA
31b. Roof vent ‐ turtle type ‐ Metal | EA
32a. Remove Valley metal | LF
32b. Valley metal | LF
33a. Remove Exhaust cap ‐ through roof ‐ up to 4" | EA
33b. Exhaust cap ‐ through roof ‐ up to 4" | EA
34a. Remove Rain cap ‐ 4" to 5" | EA
34b. Rain cap ‐ 4" to 5" | EA
35a. Remove Exhaust cap ‐ through roof ‐ 6" to 8" | EA
35b. Exhaust cap ‐ through roof ‐ 6" to 8" | EA
36a. Remove Rain cap ‐ 6" | EA
36b. Rain cap ‐ 6" | EA
37. Gutter / downspout ‐ Detach & reset | LF
38a. Remove Flashing ‐ pipe jack ‐ lead | EA
38b. Flashing ‐ pipe jack ‐ lead | EA
39a. Remove Sheathing ‐ OSB ‐ 1/2" | SF
39b. Sheathing ‐ OSB ‐ 1/2" | SF
Totals: Roofing
Cornice
SOFFIT, FASCIA and GUTTERS
40a. Remove Soffit ‐ box framing ‐ 1' overhang | LF
40b. Soffit ‐ box framing ‐ 1' overhang | LF
41a. Remove Soffit ‐ box framing ‐ 2' overhang | LF
41b. Soffit ‐ box framing ‐ 2' overhang | LF
42a. Remove Fascia ‐ 1" x 4" ‐ #1 pine | LF
42b. Fascia ‐ 1" x 4" ‐ #1 pine | LF
43a. Remove Fascia ‐ 1" x 6" ‐ #1 pine | LF
43b. Fascia ‐ 1" x 6" ‐ #1 pine | LF
44a. Remove Fascia ‐ 1" x 8" ‐ #1 pine | LF
44b. Fascia ‐ 1" x 8" ‐ #1 pine | LF
45a. Remove Soffit ‐ metal | SF
45b. Soffit ‐ metal | SF
46a. Remove Soffit ‐ vinyl | SF
46b. Soffit ‐ vinyl | SF
47a. Remove Soffit ‐ wood | SF
47b. Soffit ‐ wood | SF
48a. Remove Soffit ‐ fiber cement panel | SF
48b. Soffit ‐ fiber cement panel | SF
49a. Remove Soffit vent | EA
49b. Soffit vent | EA
50a. Remove Fascia ‐ metal ‐ 4" | LF
50b. Fascia ‐ metal ‐ 4" | LF
51a. Remove Fascia ‐ metal ‐ 6" | LF
51b. Fascia ‐ metal ‐ 6" | LF
52a. Remove Fascia ‐ metal ‐ 8" | LF
52b. Fascia ‐ metal ‐ 8" | LF
53a. Remove Fascia ‐ fiber cement ‐ 4" | LF
53b. Fascia ‐ fiber cement ‐ 4" | LF
54a. Remove Fascia ‐ fiber cement ‐ 6" | LF
54b. Fascia ‐ fiber cement ‐ 6" | LF
55a. Remove Fascia ‐ fiber cement ‐ 8" | LF
55b. Fascia ‐ fiber cement ‐ 8" | LF
56a. Remove Gutter guard/screen | LF
56b. Gutter guard/screen | LF
57a. Remove Gutter / downspout ‐ plastic | LF
57b. Gutter / downspout ‐ plastic | LF
58a. Remove Gutter‐ aluminum ‐ up to 5" | LF
58b. Gutter‐ aluminum ‐ up to 5" | LF
59a. Remove Downspout‐ aluminum ‐ up to 5" | LF
59b. Downspout‐ aluminum ‐ up to 5" | LF
60. Gutter / downspout ‐ Detach & reset | LF
61a. Remove Splash block ‐ precast concrete | EA
61b. Splash block ‐ precast concrete | EA
Totals: Cornice
Veneer/Cladding
EXTERIOR‐ SIDING
62a. Remove Brick veneer ‐ Standard grade (i.e., concrete) | SF
62b. Brick veneer ‐ Standard grade (i.e. , concrete) | SF
63a. Remove Stone veneer ‐ manufactured stone | SF
63b. Stone veneer ‐ manufactured stone | SF
EXTERIOR‐ SIDING
64. Re‐point masonry | SF
65. Re‐point masonry ‐ block | SF
EXTERIOR‐ SIDING
66a. Remove Siding ‐ hardboard lap ‐ 8" ‐ per ind. material source | SF
66b. Siding ‐ hardboard lap ‐ 8" ‐ per ind. material source | SF
67a. Remove Siding ‐ aluminum (.019 thickness) ‐ Standard grade | SF
67b. Siding ‐ aluminum (.019 thickness) ‐ Standard grade | SF
68a. Remove Siding ‐ shiplap ‐ pine or equal | SF
68b. Siding ‐ shiplap ‐ pine or equal | SF
69a. Remove Siding ‐ vinyl | SF
69b. Siding ‐ vinyl | SF
70a. Remove House wrap (air/moisture barrier) | SF
70b. House wrap (air/moisture barrier) | SF
71a. Remove Fiber cement lap siding ‐ 8" | SF
71b. Fiber cement lap siding ‐ 8" | SF
72a. Remove Vertical siding ‐ fiber cement board ‐ sheet | SF
72b. Vertical siding ‐ fiber cement board ‐ sheet | SF
73a. Remove Siding trim ‐ 1" x 4" fiber cement trim board | LF
73b. Siding trim ‐ 1" x 4" fiber cement trim board | LF
74a. Remove Light/outlet block ‐ fiber cement | EA
74b. Light/outlet block ‐ fiber cement | EA
PAINTING
75. Exterior ‐ seal or prime then paint with two finish coats | SF
Totals: Veneer/Cladding
SMALL WINDOWS
76a. Remove Aluminum window, horiz. slider 3‐11 sf | EA
76b. Aluminum window, horiz. slider 3‐11 sf | EA
77a. Remove Wood window ‐ single hung, 4‐8 sf | EA
77b. Wood window ‐ single hung, 4‐ 8 sf | EA
78a. Remove Vinyl window, single hung, 4‐8 sf | EA
78b. Vinyl window, single hung, 4‐8 sf | EA
79a. Remove Window screen, 1 ‐ 9 SF | EA
79b. Window screen, 1 ‐ 9 SF | EA
80. Additional charge for a retrofit window, 3‐11 sf | EA
81. Add on for impact resistant laminated glass | SF
82a. Remove Casing ‐ 2 1/4" | LF
82b. Casing ‐ 2 1/4" | LF
83a. Remove Window stool & apron | LF
83b. Window stool & apron | LF
84. Seal & paint casing ‐ two coats | LF
85. Seal & paint window stool and apron | LF
MEDIUM WINDOWS
86a. Remove Aluminum window, horiz. slider 12‐23 sf | EA
86b. Aluminum window, horiz. slider 12‐23 sf | EA
87a. Remove Wood window ‐ single hung, 9‐12 sf | EA
87b. Wood window ‐ single hung, 9‐ 12 sf | EA
88a. Remove Vinyl window, single hung, 9‐12 sf | EA
88b. Vinyl window, single hung, 9‐ 12 sf | EA
89a. Remove Window screen, 10 ‐ 16 SF | EA
89b. Window screen, 10 ‐ 16 SF | EA
90. Additional charge for a retrofit window, 12‐23 sf | EA
91. Add on for "Low E" glass | SF
92a. Remove Casing ‐ 2 1/4" | LF
92b. Casing ‐ 2 1/4" | LF
93a. Remove Window stool & apron | LF
93b. Window stool & apron | LF
94. Seal & paint casing ‐ two coats | LF
95. Seal & paint window stool and apron | LF
LARGE WINDOWS
96a. Remove Aluminum window, single hung 13‐19 sf | EA
96b. Aluminum window, single hung 13‐19 sf | EA
97a. Remove Wood window ‐ double hung, 13‐19 sf | EA
97b. Wood window ‐ double hung, 13‐ 19 sf | EA
98a. Remove Vinyl window, single hung, 13‐19 sf | EA
98b. Vinyl window, single hung, 13‐ 19 sf | EA
99a. Remove Window screen, 17 ‐ 25 SF | EA
99b. Window screen, 17 ‐ 25 SF | EA
100. Additional charge for a retrofit window, 12‐23 sf | EA
101. Add on for "Low E" glass | SF
102a. Remove Casing ‐ 2 1/4" | LF
102b. Casing ‐ 2 1/4" | LF
103a. Remove Window stool & apron | LF
103b. Window stool & apron | LF
104. Seal & paint casing ‐ two coats | LF
105. Seal & paint window stool and apron | LF
XTRA LARGE WINDOWS
106a. Remove Aluminum window, single hung 20‐28 sf | EA
106b. Aluminum window, single hung 20‐28 sf | EA
107a. Remove Aluminum window, horiz. slider 24‐32 sf | EA
107b. Aluminum window, horiz. slider 24‐32 sf | EA
108a. Remove Aluminum window, picture/fixed 24‐32 sf | EA
108b. Aluminum window, picture/fixed 24‐32 sf | EA
109a. Remove Wood window ‐ double hung, 20‐28 sf | EA
109b. Wood window ‐ double hung, 20‐ 28 sf | EA
110a. Remove Vinyl window, single hung, 20‐28 sf | EA
110b. Vinyl window, single hung, 20‐ 28 sf | EA
111a. Remove Window screen, 26 ‐ 32 SF | EA
111b. Window screen, 26 ‐ 32 SF | EA
112. Additional charge for a retrofit window, 24‐40 sf | EA
113. Add on for "Low E" glass | SF
114a. Remove Casing ‐ 2 1/4" | LF
114b. Casing ‐ 2 1/4" | LF
115a. Remove Window stool & apron | LF
115b. Window stool & apron | LF
116. Seal & paint casing ‐ two coats | LF
117. Seal & paint window stool and apron | LF
Totals: Windows
Exterior Doors
All doors installed shall be 6‐ panel colonist in style.
118a. Remove Exterior door ‐ metal insulated ‐ Standard grade | EA
118b. Exterior door ‐ metal ‐ insulated ‐ Standard grade | EA
119a. Remove Door sweep | EA
119b. Door sweep | EA
120a. Remove Door peep hole | EA
120b. Door peep hole | EA
121a. Remove Door lockset & deadbolt ‐ exterior ‐ Standard grade | EA
121b. Door lockset & deadbolt ‐ exterior ‐ Standard grade | EA
122a. Remove Door stop ‐ wall or floor mounted | EA
122b. Door stop ‐ wall or floor mounted | EA
123. Additional charge for a retrofit exterior door | EA
124. Prime & paint door slab only ‐ exterior (per side) | EA
125. Paint door/window trim & jamb ‐ 2 coats (per side) | EA
SLIDING GLASS DOORS
126a. Remove 6‐0 6‐ 8 vinyl sliding patio door | EA
126b. 6‐0 6‐8 vinyl sliding patio door | EA
127. Sliding patio door reinforcement/securi ty lock hardware | EA
128a. Remove Patio door screen, 36" wide | EA
128b. Patio door screen, 36" wide | EA
129a. Remove Sliding patio door handle | EA
129b. Sliding patio door handle | EA
130a. Remove Additional charge for a retrofit sliding door | EA
130b. Additional charge for a retrofit sliding door | EA
131. Seal & paint casing ‐ two coats | LF
French Doors
132a. Remove French door ‐ Exterior ‐ pre‐hung unit | EA
132b. French door ‐ Exterior ‐ pre‐ hung unit | EA
133. Paint French door slab only ‐ 2 coats (per side) | EA
134. Additional charge for a retrofit exterior door | EA
135. Paint door/window trim & jamb ‐ 2 coats (per side) | EA
136a. Remove Exterior door sidelite ‐ sidelite only | EA
136b. Exterior door sidelite ‐ sidelite only | EA
Totals: Exterior Doors
Overhead Doors
137a. Remove Overhead door & hardware ‐ 8' x 7' ‐ Standard grade | EA
137b. Overhead door & hardware ‐ 8' x 7' ‐ Standard grade | EA
138a. Remove Overhead door & hardware ‐ 9' x 7' ‐ Standard grade | EA
138b. Overhead door & hardware ‐ 9' x 7' ‐ Standard grade | EA
139a. Remove Overhead door & hardware ‐ 10' x 7' ‐ Standard grade | EA
139b. Overhead door & hardware ‐ 10' x 7' ‐ Standard grade | EA
140a. Remove Overhead door & hardware ‐ 12' x 7' ‐ Standard grade | EA
140b. Overhead door & hardware ‐ 12' x 7' ‐ Standard grade | EA
141a. Remove Overhead door & hardware ‐ 16' x 7' ‐ Standard grade | EA
141b. Overhead door & hardware ‐ 16' x 7' ‐ Standard grade | EA
142a. Remove Overhead door & hardware ‐ 18' x 7' ‐ Standard grade | EA
142b. Overhead door & hardware ‐ 18' x 7' ‐ Standard grade | EA
143a. Remove Overhead (‐garage) door opener ‐ Standard grade | EA
1143b. Overhead (garage) door opener ‐ Standard g‐rade | EA
144. Overhead door ‐ Detach & reset | EA
Totals: Overhead Doors
Exterior Electrical
145a. Remove Exterior outlet or switch | EA
145b. Exterior outlet or switch | EA
146a. Remove Exterior outlet or switch cover | EA
146b. Exterior outlet or switch cover | EA
147a. Remove 110 volt copper wiring run and box ‐ rough in only | EA
147b. 110 volt copper wiring run and box ‐ rough in only | EA
148a. Remove Lighted house numbers | EA
148b. Lighted house numbers | EA
149a. Remove Exterior light fixture ‐ Standard grade | EA
149b. Exterior light fixture ‐ Standard grade | EA
150a. Remove Motion sensor for exterior light fixture | EA
150b. Motion sensor for exterior light fixture | EA
151a. Remove Door bell/chime button (button only) | EA
151b. Door bell/chime button (button only) | EA
152a. Remove Door bell/chime ‐ Standard grade | EA
152b. Door bell/chime ‐ Standard grade | EA
Totals: Exterior Electrical
Electrical Service
153a. Remove Breaker panel ‐ 125 amp | EA
153b. Breaker panel ‐ 125 amp | EA
154a. Remove Breaker panel ‐ 150 amp w/arc fault breakers | EA
154b. Breaker panel ‐ 150 amp w/arc fault breakers | EA
155a. Remove Grounding rod ‐ copper clad with clamp, 8' | EA
155b. Grounding rod ‐ copper clad with clamp, 8' | EA
156a. Remove #8 gauge copper wire ‐ stranded or solid | LF
156b. #8 gauge copper wire ‐ stranded or solid | LF
157a. Remove Circuit breaker ‐ main disconnect ‐ 150 to 200 amp | EA
157b. Circuit breaker ‐ main disconnect ‐ 150 to 200 amp | EA
158a. Remove Meter base ‐ 200 amp | EA
158b. Meter base ‐ 200 amp | EA
159a. Remove Meter mast for overhead power ‐ 2" conduit | EA
159b. Meter mast for overhead power ‐ 2" conduit | EA
Totals: Electrical Service
ELECTRICAL
160. Rewire ‐ average residence ‐ copper wiring | SF
161a. Remove 110 volt copper wiring run and box ‐ rough in only | EA
161b. 110 volt copper wiring run and box ‐ rough in only | EA
162a. Remove 110 volt copper wiring run, box and outlet | EA
162b. 110 volt copper wiring run, box and outlet | EA
163a. Remove 110 volt copper wiring run, box, tamper‐ resistant outlet | EA
163b. 110 volt copper wiring run, box, tamper‐resistant outlet | EA
164a. Remove Outlet | EA
164b. Outlet | EA
165a. Remove Switch cover | EA
165b. Switch cover | EA
166a. Remove Outlet or switch cover ‐ Double | EA
166b. Outlet or switch cover ‐ Double | EA
167a. Remove Outlet ‐ tamper resistant | EA
167b. Outlet ‐ tamper resistant | EA
168a. Remove Ground fault interrupter (GFI) outlet | EA
168b. Ground fault interrupter (GFI) outlet | EA
169a. Remove Ground fault interrupter (GFI) outlet ‐ tamper resistant | EA
169b. Ground fault interrupter (GFI) outlet ‐ tamper resistant | EA
170a. Remove 110 volt copper wiring run, box and switch | EA
170b. 110 volt copper wiring run, box and switch | EA
171a. Remove Switch | EA
171b. Switch | EA
172a. Remove Switch ‐ 3 way | EA
172b. Switch ‐ 3 way | EA
173a. Remove 220 volt copper wiring run and box ‐ rough in only | EA
173b. 220 volt copper wiring run and box ‐ rough in only | EA
174a. Remove 220 volt copper wiring run, box and receptacle | EA
174b. 220 volt copper wiring run, box and receptacle | EA
175a. Remove 220 volt outlet | EA
175b. 220 volt outlet | EA
176a. Remove 220 volt outlet cover | EA
176b. 220 volt outlet cover | EA
177a. Remove Combination CO/Smoke detector ‐ Standard grade | EA
177b. Combination CO/Smoke detector ‐ Standard grade | EA
178a. Remove Smoke detector ‐ Standard grade | EA
178b. Smoke detector ‐ Standard grade | EA
179a. Remove Light fixture ‐ Standard grade | EA
179b. Light fixture ‐ Standard grade | EA
180a. Remove Ceiling fan & light ‐ Standard grade | EA
180b. Ceiling fan & light ‐ Standard grade | EA
181a. Remove Light fixture (cover only) ‐ medium size | EA
181b. Light fixture (cover only) ‐ medium size | EA
182a. Remove Recessed light fixture ‐ Standard grade | EA
182b. Recessed light fixture ‐ Standard grade | EA
183a. Remove Fluorescent light fixture ‐ Standard grade | EA
183b. Fluorescent light fixture ‐ Standard grade | EA
184a. Remove Hanging light fixture | EA
184b. Hanging light fixture | EA
185a. Remove Door bell/chime button (button only) | EA
185b. Door bell/chime button (button only) | EA
186a. Remove Door bell/chime ‐ Standard grade | EA
186b. Door bell/chime ‐ Standard grade | EA
187a. Remove Junction box | EA
187b. Junction box | EA
188a. Remove PVC schedule 40 conduit, 1/2" | LF
188b. PVC schedule 40 conduit, 1/2" | LF
189a. Remove Liquid tight flexible conduit, 1/2" | LF
189b. Liquid tight flexible conduit, 1/2" | LF
190a. Remove Flexible metal conduit, 1/2" to 1" | LF
190b. Flexible metal conduit, 1/2" to 1" | LF
191a. Remove Rigid conduit, 3/4" | LF
191b. Rigid conduit, 3/4" | LF
Totals: Electrical
HVAC
2‐ton Air Conditioning System
192a. Remove Central air ‐ condenser unit ‐ 2 ton ‐ 16 ‐ 21 SEER | EA
192b. Central air ‐ condenser unit ‐ 2 ton ‐ 16 ‐21 SEER | EA
193a. Remove Air handler ‐ with heat element and A/C coil ‐ 2 ton | EA
193b. Air handler ‐ with heat element and A/C coil ‐ 2 ton | EA
194a. Remove Ductwork system ‐ hot or cold air ‐ 901 to 1199 SF home | EA
194b. Ductwork system ‐ hot or cold air ‐ 901 to 1199 SF home | EA
195a. Remove Ductwork system ‐ hot or cold air ‐ 1200 to 1599 SF home | EA
195b. Ductwork system ‐ hot or cold air ‐ 1200 to 1599 SF home | EA
3‐ton Air Conditioning System
196a. Remove Central air ‐ condenser unit ‐ 3 ton ‐ 16 ‐21 SEER | EA
196b. Central air ‐ condenser unit ‐ 3 ton ‐ 16 ‐21 SEER | EA
197a. Remove Air handler ‐ with heat element and A/C coil ‐ 3 ton | EA
197b. Air handler ‐ with heat element and A/C coil ‐ 3 ton | EA
198a. Remove Ductwork system ‐ hot or cold air ‐ 1200 to 1599 SF home | EA
198b. Ductwork system ‐ hot or cold air ‐ 1200 to 1599 SF home | EA
199a. Remove Ductwork system ‐ hot or cold air ‐ 1600 to 2199 SF home | EA
199b. Ductwork system ‐ hot or cold air ‐ 1600 to 2199 SF home | EA
4‐ton Air Conditioning System
200a. Remove Central air ‐ condenser unit ‐ 4 ton ‐ 16 ‐21 SEER | EA
200b. Central air ‐ condenser unit ‐ 4 ton ‐ 16 ‐21 SEER | EA
201a. Remove Air handler ‐ with heat element and A/C coil ‐ 4 ton | EA
201b. Air handler ‐ with heat element and A/C coil ‐ 4 ton | EA
202a. Remove Ductwork system ‐ hot or cold air ‐ 1600 to 2199 SF home | EA
202b. Ductwork system ‐ hot or cold air ‐ 1600 to 2199 SF home | EA
203a. Remove Ductwork system ‐ hot or cold air ‐ 2200 to 2500 SF home | EA
203b. Ductwork system ‐ hot or cold air ‐ 2200 to 2500 SF home | EA
5‐ton Air Conditioning System
204a. Remove Central air ‐ condenser unit ‐ 5 ton ‐ 16‐21 SEER | EA
204b. Central air ‐ condenser unit ‐ 5 ton ‐ 16‐ 21 SEER | EA
205a. Remove Air handler ‐ with heat element and A/C coil ‐ 5 ton | EA
205b. Air handler ‐ with heat element and A/C coil ‐ 5 ton | EA
206a. Remove Ductwork system ‐ hot or cold air ‐ 2200 to 2500 SF home | EA
206b. Ductwork system ‐ hot or cold air ‐ 2200 to 2500 SF home | EA
207a. Remove Ductwork system ‐ hot or cold air ‐ 901 to 1199 SF home | EA
207b. Ductwork system ‐ hot or cold air ‐ 901 to 1199 SF home | EA
HVAC ACCESSORIES
208a. Remove Condenser pad ‐ 36" x 36" | EA
208b. Condenser pad ‐ 36" x 36" | EA
209a. Remove Circuit breaker ‐ bolt‐ on ‐ 1 pole, 15 to 60 amp | EA
209b. Circuit breaker ‐ bolt‐on ‐ 1 pole, 15 to 60 amp | EA
210a. Remove Disconnect box ‐ 30 amp ‐ non fused | EA
210b. Disconnect box ‐ 30 amp ‐ non fused | EA
211a. Remove Refrigerant lineset ‐ 3/8" x 3/4" tubing ‐ 31' to 50' | EA
211b. Refrigerant lineset ‐ 3/8" x 3/4" tubing ‐ 31' to 50' | EA
212a. Remove Air conditioning security cage | EA
212b. Air conditioning security cage | EA
213a. Remove Condensate drain line | EA
213b. Condensate drain line | EA
Per HCDD Policy, the replacement brand of HVAC Components shall be TRANE, and if unavailable, the approved equal may either be CARRIER or LENNOX. For Air Handler Installation in Attic or closet if installed in location.
HVAC SERVICE
214. Furnace ‐ heavy clean, replace filters and service ‐ w/ AC | EA
HVAC
215. HVAC Technician ‐ per hour | HR
The above line item is to provide funding to have a HVAC technician test & repair the existing system.
HVAC ACCESSORIES
216. Central air ‐ condenser unit ‐ Detach & reset | EA
217a. Remove Condenser pad ‐ 24" x 24" | EA
217b. Condenser pad ‐ 24" x 24" | EA
218a. Remove Condenser pad ‐ 36" x 36" | EA
218b. Condenser pad ‐ 36" x 36" | EA
219a. Remove Air conditioning security cage | EA
219b. Air conditioning security cage | EA
220. Air handler ‐ with heat element ‐ Detach & reset | EA
221a. Remove Emergency drip pan | EA
221b. Emergency drip pan | EA
222a. Remove Air handler hanging kit with drip pan | EA
222b. Air handler hanging kit with drip pan | EA
HVAC ACCESSORIES
223a. Remove Thermostat | EA
223b. Thermostat | EA
HVAC ACCESSORIES
224a. Remove Cold air return cover | EA
224b. Cold air return cover | EA
225a. Remove Ceiling diffusers/grills ‐ circular ‐ 8"‐10" diameter | EA
225b. Ceiling diffusers/grills ‐ circular ‐ 8"‐10" diameter | EA
226a. Remove Heat/AC register ‐ Mechanically attached | EA
226b. Heat/AC register ‐ Mechanically attached | EA
227a. Remove Heat/AC register ‐ Floor register | EA
227b. Heat/AC register ‐ Floor register | EA
228. Fire damper in wall ‐ 2' x 2' ‐ spring actuated | EA
229a. Remove Exterior cover for ventilation duct, 5" or 6" | EA
229b. Exterior cover for ventilation duct, 5" or 6" | EA
HVAC ACCESSORIES
230a. Remove Condensate drain pump | EA
230b. Condensate drain pump | EA
231a. Remove Condensate drain line | EA
231b. Condensate drain line | EA
HVAC
232a. Remove 110 volt copper wiring run and box ‐ rough in only | EA
232b. 110 volt copper wiring run and box ‐ rough in only | EA
233a. Remove 110 volt copper wiring run, box and switch | EA
233b. 110 volt copper wiring run, box and switch | EA
234a. Remove Ductwork ‐ flexible ‐ non‐insulated ‐ 6" round | LF
234b. Ductwork ‐ flexible ‐ non‐ insulated ‐ 6" round | LF
235a. Remove Bathroom ventilation fan ‐ Standard grade | EA
235b. Bathroom ventilation fan ‐ Standard grade | EA
To install a bathroom ventilation fan and switch and to tie in exhaust in attic to existing ducting to exterior.
Totals: HVAC
Plumbing
236. Fee to detect underslab leak | EA
237. Open and close slab for plumbing work | EA
PLUMBING
238. Rough in plumbing ‐ per fixture | EA
239. Rough in plumbing ‐ includes supply and waste lines | SF
SEWER BACK UP SERVICE CALL
240. Sewer/drain line camera w/ operator | EA
Evidence of Sewer Backup‐ requires technician.
PLUMBING
241. Plumbing ‐ Service Call | EA
The above line item is to provide funding for a plumber to determine the cause of an plumbing issue that is either unknown at the time of assessment, or unable to be estimated. If necessary, a Change Order should be submitted to fund the appropriate repair.
PLUMBING ‐ GAS LINES
242a. Remove Black pipe with fitting and hanger, 1/2" | LF
242b. Black pipe with fitting and hanger, 1/2" | LF
243a. Remove Black pipe with fitting and hanger, 3/4" | LF
243b. Black pipe with fitting and hanger, 3/4" | LF
244a. Remove Black pipe with fitting and hanger, 1" | LF
244b. Black pipe with fitting and hanger, 1" | LF
245a. Remove Black pipe with fitting and hanger, 2" | LF
245b. Black pipe with fitting and hanger, 2" | LF
246a. Remove Black pipe with fitting and hanger, 3" | LF
246b. Black pipe with fitting and hanger, 3" | LF
247a. Remove Black pipe with fitting and hanger, 4" | LF
247b. Black pipe with fitting and hanger, 4" | LF
PLUMBING ‐ PVC SUPPLY LINES
248a. Remove Water supply line ‐ PVC with fitting and hanger, 1/2" | LF
248b. Water supply line ‐ PVC with fitting and hanger, 1/2" | LF
249a. Remove Water supply line ‐ PVC with fitting and hanger, 3/4" | LF
249b. Water supply line ‐ PVC with fitting and hanger, 3/4" | LF
250a. Remove Water supply line ‐ PVC with fitting and hanger, 1" | LF
250b. Water supply line ‐ PVC with fitting and hanger, 1" | LF
251a. Remove Water supply line ‐ PVC with fitting and hanger, 1‐ 1/4" | LF
251b. Water supply line ‐ PVC with fitting and hanger, 1‐1/4" | LF
252a. Remove Water supply line ‐ PVC with fitting and hanger, 1‐ 1/2" | LF
252b. Water supply line ‐ PVC with fitting and hanger, 1‐1/2" | LF
253a. Remove Water supply line ‐ PVC with fitting and hanger, 2" | LF
253b. Water supply line ‐ PVC with fitting and hanger, 2" | LF
PLUMBING ‐ COPPER SUPPLY LINES
254a. Remove Water supply line ‐ copper with fitting and hanger, 3/8" | LF
254b. Water supply line ‐ copper with fitting and hanger, 3/8" | LF
255a. Remove Water supply line ‐ copper with fitting and hanger, 1/2" | LF
255b. Water supply line ‐ copper with fitting and hanger, 1/2" | LF
256a. Remove Water supply line ‐ copper with fitting and hanger, 3/4" | LF
256b. Water supply line ‐ copper with fitting and hanger, 3/4" | LF
257a. Remove Water supply line ‐ copper with fitting and hanger, 1" | LF
257b. Water supply line ‐ copper with fitting and hanger, 1" | LF
258a. Remove Water supply line ‐ copper with fitting and hanger, 1‐ 1/2" | LF
258b. Water supply line ‐ copper with fitting and hanger, 1‐ 1/2" | LF
259a. Remove Water supply line ‐ copper with fitting and hanger, 2" | LF
259b. Water supply line ‐ copper with fitting and hanger, 2" | LF
260a. Remove Water supply line ‐ copper with fitting and hanger, 3" | LF
260b. Water supply line ‐ copper with fitting and hanger, 3" | LF
PLUMBING ‐ PEX SUPPLY LINES
261a. Remove Water supply line ‐ PEX with fitting and hanger, 3/8" | LF
261b. Water supply line ‐ PEX with fitting and hanger, 3/8" | LF
262a. Remove Water supply line ‐ PEX with fitting and hanger, 1/2" | LF
262b. Water supply line ‐ PEX with fitting and hanger, 1/2" | LF
263a. Remove Water supply line ‐ PEX with fitting and hanger, 3/4" | LF
263b. Water supply line ‐ PEX with fitting and hanger, 3/4" | LF
264a. Remove Water supply line ‐ PEX with fitting and hanger, 1" | LF
264b. Water supply line ‐ PEX with fitting and hanger, 1" | LF
PLUMBING ‐ ABS DRAIN LINES
265a. Remove Drain/Vent line ‐ ABS pipe with fitting and hanger, 1‐ 1/2" | LF
265b. Drain/Vent line ‐ ABS pipe with fitting and hanger, 1‐ 1/2" | LF
266a. Remove Drain/Vent line ‐ ABS pipe with fitting and hanger, 2" | LF
266b. Drain/Vent line ‐ ABS pipe with fitting and hanger, 2" | LF
267a. Remove Drain/Vent line ‐ ABS pipe with fitting and hanger, 3" | LF
267b. Drain/Vent line ‐ ABS pipe with fitting and hanger, 3" | LF
268a. Remove Drain/Vent line ‐ ABS pipe with fitting and hanger, 4" | LF
268b. Drain/Vent line ‐ ABS pipe with fitting and hanger, 4" | LF
269a. Remove Drain/Vent line ‐ ABS pipe with fitting and hanger, 6" | LF
269b. Drain/Vent line ‐ ABS pipe with fitting and hanger, 6" | LF
PLUMBING ‐ PVC DRAIN LINES
270a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 1‐ 1/2" | LF
270b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 1‐ 1/2" | LF
271a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 2" | LF
271b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 2" | LF
272a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 4" | LF
272b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 4" | LF
273a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 3" | LF
273b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 3" | LF
274a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 6" | LF
274b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 6" | LF
PLUMBING ‐ SEWER LINES
275a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 1‐1/2" | LF
275b. Cast iron pipe (no‐hub) with fitting and hanger, 1‐ 1/2" | LF
276a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 2" | LF
276b. Cast iron pipe (no‐hub) with fitting and hanger, 2" | LF
277a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 3" | LF
277b. Cast iron pipe (no‐hub) with fitting and hanger, 3" | LF
278a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 4" | LF
278b. Cast iron pipe (no‐hub) with fitting and hanger, 4" | LF
279a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 6" | LF
279b. Cast iron pipe (no‐hub) with fitting and hanger, 6" | LF
280a. Remove Cast iron pipe (no‐ hub) with fitting and hanger, 8" | LF
280b. Cast iron pipe (no‐hub) with fitting and hanger, 8" | LF
281a. Remove Cast iron pipe (no hub) with fitting and hanger, 12" | LF
281b. Cast iron pipe (no hub) with fitting and hanger, 12" | LF
PLUMBING ‐ PIPE INSULATION
282. Foam pipe insulation ‐ 1/2" wall for 1/8" to 3/4" pipe | LF
283. Foam pipe insulation ‐ 3/4" wall for 1/8" to 3/4" pipe | LF
284. Foam pipe insulation ‐ 1" wall for 1/8" to 3/4" pipe | LF
285. Foam pipe insulation ‐ 1/2" wall for 1" to 1 1/2" pipe | LF
286. Foam pipe insulation ‐ 3/4" wall for 1" to 1 1/2" pipe | LF
287. Foam pipe insulation ‐ 1" wall for 1" to 1 1/2" pipe | LF
288. Foam pipe insulation ‐ 1/2" wall for 2" to 3" pipe | LF
289. Foam pipe insulation ‐ 3/4" wall for 2" to 3" pipe | LF
290. Foam pipe insulation ‐ 1" wall for 2" to 3" pipe | LF
PLUMBING ‐ CALSIL INSULATION
291. Calsil pipe insulation ‐ 1" wall for 1/2" to 1" pipe | LF
292. Calsil pipe insulation ‐ 1" wall for 1 1/2" to 2" pipe | LF
293. Calsil pipe insulation ‐ 1" wall for 2 1/2" to 4" pipe | LF
294. Calsil pipe insulation ‐ 1" wall for 4 1/2" to 6" pipe | LF
295. Calsil pipe insulation ‐ 2" wall for 1/2" to 1" pipe | LF
296. Calsil pipe insulation ‐ 2" wall for 1 1/2" to 2" pipe | LF
297. Calsil pipe insulation ‐ 2" wall for 2 1/2" to 4" pipe | LF
298. Calsil pipe insulation ‐ 2" wall for 4 1/2" to 6" pipe | LF
299. Calsil pipe insulation ‐ 3" wall for 1/2" to 1" pipe | LF
300. Calsil pipe insulation ‐ 3" wall for 1 1/2" to 2" pipe | LF
301. Calsil pipe insulation ‐ 3" wall for 2 1/2" to 4" pipe | LF
302. Calsil pipe insulation ‐ 3" wall for 4 1/2" to 6" pipe | LF
PLUMBING ‐ HOSE BIBB
303a. Remove Exterior faucet / hose bibb ‐ frost free | EA
303b. Exterior faucet / hose bibb ‐ frost free | EA
Totals: Plumbing
Floors
CARPET
304a. Remove Carpet pad ‐ Standard grade | SF
304b. Carpet pad ‐ Standard grade | SF
305. Remove Carpet ‐ Standard grade | SF
306. Carpet ‐ Standard grade | SF
307a. Remove Carpet ‐ metal transition strip | LF
307b. Carpet ‐ metal transition strip | LF
308a. Remove Baseboard ‐ 2 1/4" | LF
308b. Baseboard ‐ 2 1/4" | LF
309. Seal & paint baseboard ‐ two coats | LF
CARPET / FLOORING‐
310. Contents ‐ move out then reset | EA
311. Clean and deodorize carpet ‐ heavy staining | SF
TILE FLOORING
312a. Remove Tile floor covering ‐ Standard grade | SF
312b. Tile floor covering ‐ Standard grade | SF
313. Floor leveling cement ‐ Average | SF
314a. Remove Base shoe | LF
314b. Base shoe | LF
315a. Remove Baseboard ‐ 2 1/4" | LF
315b. Baseboard ‐ 2 1/4" | LF
316. Seal & paint baseboard w/cap &/or shoe ‐ two coats | LF
VINYL PLANK FLOORING
317a. Remove Underlayment ‐ 1/4" lauan/mahogany plywood | SF
317b. Underlayment 1/4" lauan/mahogany plywood | SF
318a. Remove Vinyl plank flooring ‐ Standard grade | SF
318b. Vinyl plank flooring ‐ Standard grade | SF
319a. Remove Vinyl ‐ metal transition strip | LF
319b. Vinyl ‐ metal transition strip | LF
VINYL SHEET FLOORING
320a. Remove Vinyl floor covering (sheet goods) ‐ Standard grade | SF
320b. Vinyl floor covering (sheet goods) ‐ Standard grade | SF
321a. Remove Vinyl ‐ metal transition strip | LF
321b. Vinyl ‐ metal transition strip | LF
Totals: Floors
Walls
‐‐‐‐‐‐‐‐‐‐‐ PATCH WALLS ‐‐‐‐‐‐‐‐‐‐‐
322. Drywall patch / small hole repair, ready for paint | EA
WALLS
323a. Remove Baseboard ‐ 2 1/4" | LF
323b. Baseboard ‐ 2 1/4" | LF
324a. Remove 1/2" drywall ‐ hung, taped, ready for texture | SF
324b. 1/2" drywall ‐ hung, taped, ready for texture | SF
325a. Remove 1/2" drywall ‐ hung, taped, floated, ready for paint | SF
325b. 1/2" drywall ‐ hung, taped, floated, ready for paint | SF
326a. Remove 1/2" water rock ‐ hung, taped, floated, ready for paint | SF
326b. 1/2" water rock ‐ hung, taped, floated, ready for paint | SF
327. Scrape & prep for paint | SF
328. Texture drywall light hand texture | SF
329. Seal/prime then paint the surface area (2 coats) | SF
330. Paint ‐ one coat | SF
331. Clean stud wall | SF
332. Apply anti‐ microbial agent to | SF
INSULATION
333a. Remove Batt insulation ‐ 6" ‐ R19 ‐ paper faced | SF
333b. Batt insulation ‐ 6" ‐ R19 ‐ paper faced | SF
Totals: Walls
Ceilings
CEILINGS
334a. Remove 1/2" drywall ‐ hung, taped, ready for texture | SF
334b. 1/2" drywall ‐ hung, taped, ready for texture | SF
335. Mask and prep for paint ‐ plastic, paper, tape (per LF) | LF
336. Texture drywall light hand texture | SF
337. Seal/prime then paint (2 coats) | SF
338a. Remove Blown in insulation ‐ 12" depth ‐ R30 | SF
338b. Blown‐in insulation ‐ 12" depth ‐ R30 | SF
CEILING PATCH
339. Drywall patch / small repair, ready for paint | EA
340. Drywall tape joint/repair ‐ per LF | LF
341. Mask and cover light fixture | EA
INSULATION
342a. Remove Batt insulation ‐ 12" ‐ R38 ‐ unfaced batt | SF
342b. Batt insulation ‐ 12" ‐ R38 ‐ unfaced batt | SF
343a. Remove Blown in insulation ‐ 14" depth ‐ R38 | SF
343b. Blown‐in insulation ‐ 14" depth ‐ R38 | SF
Totals: Ceilings
Interior Doors
‐INTERIOR HOLLOW CORE DOORS
344a. Remove Interior door ‐ Colonist ‐ pre‐hung unit | EA
344b. Interior door ‐ Colonist ‐ pre‐ hung unit | EA
345a. Remove Door knob ‐ interior Standard grade | EA
345b. Door knob ‐ interior ‐ Standard grade | EA
346a. Remove Door stop ‐ wall or floor mounted | EA
346b. Door stop ‐ wall or floor mounted | EA
347. Seal & paint door slab only (per side) | EA
348. Seal & paint door/window trim & jamb ‐ (per side) | EA
BI‐FOLD DOORS
349a. Remove Bifold door ‐ Colonist ‐ Single | EA
349b. Bifold door ‐ Colonist ‐ Single | EA
350a. Remove Door opening (jamb & casing) ‐ up to 32"wide ‐ paint grade | EA
350b. Door opening (jamb & casing) ‐ up to 32"wide ‐ paint grade | EA
351. Seal & paint bifold door set ‐ slab only (per side) | EA
352. Paint door/window trim & jamb ‐ 2 coats (per side) | EA
DOUBLE DOORS
353a. Remove Interior double door ‐ Colonist ‐ pre‐ hung unit | EA
353b. Interior double door ‐ Colonist ‐ pre‐ hung unit | EA
354. Seal & paint door/window trim & jamb ‐ Large (per side) | EA
POCKET DOORS
355a. Remove Pocket door unit ‐ Colonist | EA
355b. Pocket door unit ‐ Colonist | EA
356a. Remove Casing ‐ 2 1/4" | LF
356b. Casing ‐ 2 1/4" | LF
357a. Remove Pocket door hardware | EA
357b. Pocket door hardware | EA
358a. Remove Pocket door latch | EA
358b. Pocket door latch | EA
359. Seal & paint casing ‐ two coats | LF
SLIDING WOOD DOORS
360a. Remove Bypass (sliding) door set ‐ Colonist | EA
360b. Bypass (sliding) door set ‐ Colonist | EA
361a. Remove Door opening (jamb & casing) ‐ 36"to60"wide ‐ paint grade | EA
361b. Door opening (jamb & casing) ‐ 36"to60"wide ‐ paint grade | EA
362. Seal/Paint bypass door set ‐ slab only‐ 2 coats (per side) | EA
Totals: Interior doors
Bathroom
363a. Remove Vanity ‐ Standard grade | LF
363b. Vanity ‐ Standard grade | LF
364a. Remove Sink ‐ single ‐ Standard grade | EA
364b. Sink ‐ single ‐ Standard grade | EA
365a. Remove Sink ‐ double ‐ Standard grade | EA
365b. Sink ‐ double ‐ Standard grade | EA
366a. Remove Sink ‐ wall mounted | EA
366b. Sink ‐ wall mounted | EA
367a. Remove Pedestal sink ‐ Standard grade | EA
367b. Pedestal sink ‐ Standard grade | EA
368a. Remove Sink faucet ‐ Bathroom ‐ Standard grade | EA
368b. Sink faucet ‐ Bathroom ‐ Standard grade | EA
369a. Remove P‐trap assembly ‐ ABS (plastic) | EA
369b. P‐trap assembly ‐ ABS (plastic) | EA
370a. Remove Angle stop valve | EA
370b. Angle stop valve | EA
371a. Remove Plumbing fixture supply line | EA
371b. Plumbing fixture supply line | EA
372a. Remove Under sink plumbing protectors | EA
372b. Under sink plumbing protectors | EA
373a. Remove Toilet Standard grade | EA
373b. Toilet ‐ Standard grade | EA
374a. Remove Toilet seat ‐ Standard grade | EA
374b. Toilet seat ‐ Standard grade | EA
375a. Remove Angle stop valve | EA
375b. Angle stop valve | EA
376a. Remove Plumbing fixture supply line | EA
376b. Plumbing fixture supply line | EA
377. Toilet tank repair kit ‐ interior components | EA
378. Refinish bathtub | EA
379a. Remove Bathtub ‐ Standard grade | EA
379b. Bathtub ‐ Standard grade | EA
380a. Remove Fiberglass tub & shower combination ‐ Standard grade | EA
380b. Fiberglass tub & shower combination ‐ Standard grade | EA
381a. Remove Fiberglass tub surround only ‐ Standard grade | EA
381b. Fiberglass tub surround only Standard grade | EA
382a. Remove Fiberglass shower unit ‐ Standard grade | EA
382b. Fiberglass shower unit ‐ Standard grade | EA
383a. Remove Tub/shower faucet ‐ Standard grade | EA
383b. Tub/shower faucet ‐ Standard grade | EA
384a. Remove Shower faucet ‐ Standard grade | EA
384b. Shower faucet Standard grade | EA
385a. Remove Shower head only ‐ Standard grade | EA
385b. Shower head only ‐ Standard grade | EA
Plumbing
386. Floor drain ‐ PVC ‐ 2" to 4" | EA
387a. Remove Floor drain ‐ tub/shower ‐ metal/plastic (cover only) | EA
387b. Floor drain ‐ tub/shower ‐ metal/plastic (cover only) | EA
388a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 4" | LF
388b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 4" | LF
389a. Remove Trap primer valve | EA
389b. Trap primer valve | EA
HANDICAPPED ACCESSIBILITY
390. Framing ‐ Labor Minimum | EA
391. Drywall ‐ Labor Minimum | EA
To install blocking for Handicapped Accessible Grab Bars.
392a. Remove Handicap grab bar ‐ Stainless steel, 1 1/2" x 24" | EA
392b. Handicap grab bar ‐ Stainless steel, 1 1/2" x 24" | EA
393a. Remove Handicap grab bar ‐ Stainless steel, 1 1/2" x 48" | EA
393b. Handicap grab bar ‐ Stainless steel, 1 1/2" x 48" | EA
394a. Remove Handicap grab bar ‐ Stainless steel, 1 1/2" x 30" | EA
394b. Handicap grab bar ‐ Stainless steel, 1 1/2" x 30" | EA
For Aging in Place/ADA Requirements. All Aging‐In‐ Place Line Items are based on a verbal or observational determination made in the field at the time of Inspection. At present, this applicant does not meet the eligibility requirements for these line items. The applicant must submit proper documentation, signed by a physician, to the Program by the Notice to Proceed Date. If this documentation is submitted by that date, these line items are authorized
BATHROOM ACCESSORIES
395a. Remove Bath accessory ‐ Standard grade | EA
395b. Bath accessory ‐ Standard grade | EA
396a. Remove Medicine cabinet ‐ Standard grade | EA
396b. Medicine cabinet ‐ Standard grade | EA
397a. Remove Mirror ‐ 1/4" plate glass | SF
397b. Mirror ‐ 1/4" plate glass | SF
398a. Remove Shower curtain rod | EA
398b. Shower curtain rod | EA
PLUMBING
399. Waterproof membrane ‐ tile underlayment | SF
400a. Remove Mortar bed for tile floors | SF
400b. Mortar bed for tile floors | SF
401. Shower pan ‐ up to 9 SF | EA
402. Shower pan ‐ Large how are10 to 16 SF | EA
403. Shower pan ‐ hot mop ‐ 17 to 30 SF | EA
404. Shower pan ‐ hot mop ‐ 31 to 40 SF | EA
405a. Remove Polystyrene shower curb ‐ per LF | LF
405b. Polystyrene shower curb ‐ per LF | LF
406a. Remove Batt insulation ‐ 4" ‐ R13 ‐ paper faced | SF
406b. Batt insulation ‐ 4" ‐ R13 ‐ paper faced | SF
407a. Remove 1/4" Cement board | SF
407b. 1/4" Cement board | SF
408a. Remove Tile shower ‐ up to 60 SF | EA
408b. Tile shower ‐ up to 60 SF | EA
409a. Remove Tile shower ‐ 61 to 100 SF | EA
409b. Tile shower ‐ 61 to 100 SF | EA
410a. Remove Tile shower ‐ 101 to 120 SF | EA
410b. Tile shower ‐ 101 to 120 SF | EA
411a. Remove Shower faucet ‐ Standard grade | EA
411b. Shower faucet Standard grade | EA
ACCESSORIES
412a. Remove Custom shower door & partition ‐ 1/4" glass w/frame | SF
412b. Custom shower door & partition ‐ 1/4" glass w/frame | SF
413a. Remove Shower curtain rod | EA
413b. Shower curtain rod | EA
PLUMBING
414a. Remove Ceramic/porcelain tile | SF
414b. Ceramic/porcelain tile | SF
For patching area in existing Tiled Shower.
PLUMBING
415. Caulking ‐ silicone | LF
416. Tile shower ‐ regrout | EA
Totals: Bathroom
Kitchen
417a. Remove Kitchen Sink ‐ single basin ‐ Standard grade | EA
417b. Kitchen Sink ‐ single basin ‐ Standard grade | EA
418. Sink strainer and drain assembly ‐ 2" | EA
419a. Remove Sink faucet ‐ Kitchen Standard grade | EA
419b. Sink faucet ‐ Kitchen ‐ Standard grade | EA
420a. Remove Angle stop valve | EA
420b. Angle stop valve | EA
421a. Remove Sink ‐ double ‐ Standard grade | EA
421b. Sink ‐ double ‐ Standard grade | EA
422. Sink strainer and drain assembly ‐ 2" | EA
423a. Remove Sink faucet ‐ Kitchen Standard grade | EA
423b. Sink faucet ‐ Kitchen ‐ Standard grade | EA
424. Angle stop valve | EA
425a. Remove P‐trap assembly ‐ ABS (plastic) | EA
425b. P‐trap assembly ‐ ABS (plastic) | EA
426a. Remove Plumbing fixture supply line | EA
426b. Plumbing fixture supply line | EA
PLUMBING
427. Dishwasher connection | EA
428a. Remove Appliance water line ‐ 1/4" | EA
428b. Appliance water line ‐ 1/4" | EA
429a. Remove Refrigerator/icemake r water supply box with valve | EA
429b. Refrigerator/icemake r water supply box with valve | EA
ADA KITCHEN PLUMBING
430. Detach & Reset Cabinetry ‐ lower (base) units ‐ Standard grade | LF
431. Detach & Reset Sink ‐ double ‐ Standard grade | EA
432. Detach & Reset Sink faucet ‐ Kitchen ‐ Standard grade | EA
433. Under sink plumbing protectors | EA
CABINETRY
434a. Remove Cabinetry ‐ lower (base) units ‐ Standard grade | LF
434b. Cabinetry ‐ lower (base) units ‐ Standard grade | LF
435a. Remove Cabinetry ‐ upper (wall) units ‐ Standard grade | LF
435b. Cabinetry ‐ upper (wall) units ‐ Standard grade | LF
436a. Remove Cabinetry ‐ full height unit ‐ Standard grade | LF
436b. Cabinetry ‐ full height unit ‐ Standard grade | LF
437a. Remove Cabinet knob or pull Standard grade | EA
437b. Cabinet knob or pull ‐ Standard grade | EA
438a. Remove Cabinet hinge ‐ concealed | EA
438b. Cabinet hinge ‐ concealed | EA
439a. Remove Cabinet door ‐ Standard grade | SF
439b. Cabinet door ‐ Standard grade | SF
440a. Remove Cabinet drawer front ‐ Standard grade | SF
440b. Cabinet drawer front ‐ Standard grade | SF
441a. Remove Cabinet refacing ‐ Standard grade | SF
441b. Cabinet refacing ‐ Standard grade | SF
COUNTERTOPS
442a. Remove Countertop ‐ flat laid plastic laminate ‐ Standard grade | LF
442b. Countertop ‐ flat laid plastic laminate ‐ Standard grade | LF
443a. Remove 6" backsplash for flat laid countertop | LF
443b. 6" backsplash for flat laid countertop | LF
444a. Remove Countertop ‐ solid surface ‐ Standard grade | SF
444b. Countertop ‐ solid surface ‐ Standard grade | SF
445. Countertop ‐ solid surface/granite ‐ Detach & reset | SF
APPLIANCES ‐ Detach and Reset
446. Range ‐ electric ‐ Remove & reset | EA
447. Range ‐ gas ‐ Remove & reset | EA
448. Built‐in oven ‐ Detach & reset | EA
449. Cooktop ‐ Detach & reset | EA
450. Range hood ‐ Detach & reset | EA
451. Refrigerator ‐ Remove & reset | EA
452. Dishwasher ‐ Detach & reset | EA
453. Freezer ‐ Remove & reset | EA
APPLIANCES
454a. Remove Refrigerator ‐ top freezer ‐ 18 to 22 cf ‐ Standard grade | EA
454b. Refrigerator ‐ top freezer ‐ 18 to 22 cf ‐ Standard grade | EA
455a. Remove Range hood ‐ Standard grade | EA
455b. Range hood ‐ Standard grade | EA
456a. Remove Range ‐ freestanding ‐ gas ‐ Standard grade | EA
456b. Range ‐ freestanding ‐ gas ‐ Standard grade | EA
457a. Remove Range ‐ freestanding ‐ electric ‐ Standard grade | EA
457b. Range ‐ freestanding ‐ electric ‐ Standard grade | EA
Totals: Kitchen
Utility Room / Laundry
APPLIANCES
458. Washing machine ‐ Remove & reset | EA
459. Dryer ‐ Remove & reset | EA
460. Dryer ‐ Remove & reset gas | EA
461. Freezer ‐ Remove & reset | EA
GAS WATER HEATER
462a. Remove Water heater ‐ 30 gallon ‐ Gas ‐ 9 yr | EA
462b. Water heater ‐ 30 gallon ‐ Gas ‐ 9 yr | EA
463a. Remove Water heater ‐ 40 gallon ‐ Gas ‐ 9 yr | EA
463b. Water heater ‐ 40 gallon ‐ Gas ‐ 9 yr | EA
464a. Remove Water heater ‐ 50 gallon ‐ Gas ‐ 9 yr | EA
464b. Water heater ‐ 50 gallon ‐ Gas ‐ 9 yr | EA
465a. Remove Flexible gas supply line connector ‐ 1/2" ‐ up to 24" | EA
465b. Flexible gas supply line connector ‐ 1/2" ‐ up to 24" | EA
466a. Remove Water heater overflow drain pan | EA
466b. Water heater overflow drain pan | EA
467a. Remove Water heater platform ‐ metal | EA
467b. Water heater platform ‐ metal | EA
468a. Remove Furnace vent ‐ double wall, 6" | LF
468b. Furnace vent ‐ double wall, 6" | LF
ELECTRIC WATER HEATER
469a. Remove Water heater ‐ 30 gallon ‐ Electric ‐ 9 yr | EA
469b. Water heater ‐ 30 gallon ‐ Electric ‐ 9 yr | EA
470a. Remove Water heater ‐ 40 gallon ‐ Electric ‐ 9 yr | EA
470b. Water heater ‐ 40 gallon ‐ Electric ‐ 9 yr | EA
471a. Remove Water heater ‐ 50 gallon ‐ Electric ‐ 9 yr | EA
471b. Water heater ‐ 50 gallon ‐ Electric ‐ 9 yr | EA
472a. Remove Water heater overflow drain pan | EA
472b. Water heater overflow drain pan | EA
473a. Remove Water heater platform ‐ metal | EA
473b. Water heater platform ‐ metal | EA
PLUMBING
474. Rough in plumbing ‐ floor/laundry pan drain | EA
475a. Remove Washing machine hose line ‐ rubber (per pair) | EA
475b. Washing machine hose line ‐ rubber (per pair) | EA
476a. Remove Washing machine hose line ‐ stainless steel (per pair) | EA
476b. Washing machine hose line ‐ stainless steel (per pair) | EA
477a. Remove Washing machine outlet box with valves | EA
477b. Washing machine outlet box with valves | EA
478a. Remove 1/2" water rock ‐ hung, taped, floated, ready for paint | SF
478b. 1/2" water rock ‐ hung, taped, floated, ready for paint | SF
479a. Remove Water supply line ‐ PVC with fitting and hanger, 1/2" | LF
479b. Water supply line ‐ PVC with fitting and hanger, 1/2" | LF
480a. Remove Drain/Vent line ‐ PVC pipe with fitting and hanger, 3" | LF
480b. Drain/Vent line ‐ PVC pipe with fitting and hanger, 3" | LF
Totals: Utility Room / Laundry
Closets
CLOSET SHELVING
481a. Remove Closet rod | LF
481b. Closet rod | LF
482a. Remove Shelving ‐ wire (vinyl coated) | LF
482b. Shelving ‐ wire (vinyl coated) | LF
483a. Remove Shelving ‐ 12" ‐ in place | LF
483b. Shelving ‐ 12" ‐ in place | LF
Totals: Closets
Rough Carpentry
484a. Remove Stud wall ‐ 2" x 4" x 8' ‐16" oc | LF
485a. Remove Sheathing ‐ OSB ‐ 1/2" | SF
485b. Sheathing ‐ OSB ‐ 1/2" | SF
486a. Remove Sheathing ‐ radiant barrier ‐ 5/8" ‐ OSB | SF
486b. Sheathing ‐ radiant barrier ‐ 5/8" ‐ OSB | SF
487a. Remove 4" x 4" square wood post (1.33 BF per LF) | LF
487b. 4" x 4" square wood post (1.33 BF per LF) | LF
488a. Remove 4" x 4" wood post ‐ treated (1.33 BF per LF) | LF
488b. 4" x 4" wood post ‐ treated (1.33 BF per LF) | LF
489a. Remove 6" x 6" square wood post (3 BF per LF) | LF
489b. 6" x 6" square wood post (3 BF per LF) | LF
490a. Remove 6" x 6" square wood post ‐ treated (3 BF per LF) | LF
490b. 6" x 6" square wood post ‐ treated (3 BF per LF) | LF
491a. Remove 2" x 4" lumber ‐ treated (.667 BF per LF) | LF
491b. 2" x 4" lumber ‐ treated (.667 BF per LF) | LF
492a. Remove 2" x 6" lumber ‐ treated (1 BF per LF) | LF
492b. 2" x 6" lumber ‐ treated (1 BF per LF) | LF
493a. Remove 2" x 4" lumber (.667 BF per LF) | LF
493b. 2" x 4" lumber (.667 BF per LF) | LF
494a. Remove 2" x 6" lumber (1 BF per LF) | LF
494b. 2" x 6" lumber (1 BF per LF) | LF
495a. Remove 2" x 8" lumber (1.33 BF per LF) | LF
495b. 2" x 8" lumber (1.33 BF per LF) | LF
ROUGH CARPENTRY / CEILING & ROOF FRAMING
496a. Remove Joist ‐ floor or ceiling ‐ 2x10 w/blocking ‐ 12" oc | SF
496b. Joist ‐ floor or ceiling ‐ 2x10 ‐ w/blocking ‐ 12" oc | SF
497a. Remove Joist ‐ floor or ceiling ‐ 2x10 w/blocking ‐ 16" oc | SF
497b. Joist ‐ floor or ceiling ‐ 2x10 ‐ w/blocking ‐ 16" oc | SF
498a. Remove Joist ‐ floor or ceiling ‐ 2x10 w/blocking ‐ 24" oc | SF
498b. Joist ‐ floor or ceiling ‐ 2x10 ‐ w/blocking ‐ 24" oc | SF
499a. Remove Labor to install joist ‐ floor or ceiling ‐ 2x12 | LF
499b. Labor to install joist ‐ floor or ceiling ‐ 2x12 | LF
500a. Remove Joist ‐ floor or ceiling ‐ 2x12 w/blocking ‐ 12" oc | SF
500b. Joist ‐ floor or ceiling ‐ 2x12 ‐ w/blocking ‐ 12" oc | SF
501a. Remove Joist ‐ floor or ceiling ‐ 2x12 w/blocking ‐ 16" oc | SF
501b. Joist ‐ floor or ceiling ‐ 2x12 ‐ w/blocking ‐ 16" oc | SF
502a. Remove Joist ‐ floor or ceiling ‐ 2x12 w/blocking ‐ 24" oc | SF
502b. Joist ‐ floor or ceiling ‐ 2x12 ‐ w/blocking ‐ 24" oc | SF
503a. Remove Labor to install joist ‐ floor or ceiling ‐ 2x10 | LF
503b. Labor to install joist ‐ floor or ceiling ‐ 2x10 | LF
504a. Remove Labor to install joist ‐ floor or ceiling ‐ 2x8 | LF
504b. Labor to install joist ‐ floor or ceiling ‐ 2x8 | LF
505a. Remove Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 12" oc | SF
505b. Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 12" oc | SF
506a. Remove Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 16" oc | SF
506b. Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 16" oc | SF
507a. Remove Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 24" oc | SF
507b. Joist ‐ floor or ceiling ‐ 2x8 ‐ w/blocking ‐ 24" oc | SF
508a. Remove Rim joist ‐ engineered LVL ‐ 1‐5/16" x 9‐1/2" | LF
508b. Rim joist ‐ engineered LVL ‐ 1‐ 5/16" x 9‐ 1/2" | LF
509a. Remove Rim joist ‐ engineered LVL ‐ 1‐5/16" x 11‐7/8" | LF
509b. Rim joist ‐ engineered LVL ‐ 1 5/16" x 11‐7/8" | LF
510a. Remove Rim joist ‐ engineered LVL ‐ 1‐5/16" x 14" | LF
510b. Rim joist ‐ engineered LVL ‐ 1 5/16" x 14" | LF
511a. Remove Rim joist ‐ engineered LVL ‐ 1‐5/16" x 16" | LF
511b. Rim joist ‐ engineered LVL ‐ 1 5/16" x 16" | LF
512a. Remove Rafters ‐ 2x6 ‐ stick frame roof (using rafter length) | LF
512b. Rafters ‐ 2x6 ‐ stick frame roof (using rafter length) | LF
513a. Remove Rafters ‐ 2x8 ‐ stick frame roof (using rafter length) | LF
513b. Rafters ‐ 2x8 ‐ stick frame roof (using rafter length) | LF
514a. Remove Rafters ‐ 2x10 stick frame roof (using rafter length) | LF
514b. Rafters ‐ 2x10 ‐ stick frame roof (using rafter length) | LF
515a. Remove Rafters ‐ 2x12 stick frame roof (using rafter length) | LF
515b. Rafters ‐ 2x12 ‐ stick frame roof (using rafter length) | LF
Totals: Rough Carpentry
Pricing for any Rehabilitation item not priced above may be approved for each Project on a case‐by‐case basis. The City may consider unit pricing proposed by Contractor and/or standard pricing determined through the use of Xactimate® or similar cost estimating platform.